## columns
idx | column | category | description | unit | data_type | dimension | status | equation | aggregation_period | note
0 | model_ty | Building characteristics | Building-institution configuration | – | string
1 | plat_area | Building characteristics | Lot area | m² | float
2 | footprint_area | Building characteristics | Building footprint area | m² | float
3 | bc_rat | Building characteristics | Building coverage ratio | % | float
4 | fa_rat | Building characteristics | Floor area ratio | % | float
5 | gfa | Building characteristics | Gross floor area | m² | float
6 | gfa_r | Building characteristics | Gross floor area used to calculate fa_rat | m² | float
7 | grnd_flr_max | Building characteristics | Maximum No. of above-ground floors | count | int
8 | ugrnd_flr_max | Building characteristics | Maximum No. of below-ground floors | count | int
9 | pu_rat | Building characteristics | Share of medical-use floor area in the total floor area excluding parking | % | float
10 | flr_hos_area | Building characteristics | Floor area dedicated to medical use, summed from the floor summary records | m² | float
11 | flr_net_area | Building characteristics | Total floor area excluding parking, summed from the floor summary records | m² | float
12 | hos_ty_eng | Operational characteristics | Institution type based on the HIRADB classification (see Usage Notes) | – | string
13 | open_ymd | Operational characteristics | Date on which the institution commenced operation | – | date
14 | dept_cnt | Operational characteristics | No. of clinical departments | count | int
15 | bed_cnt | Operational characteristics | Total no. of licensed beds, summed across all bed types reported in the HIRADB | beds | int
16 | doctor_cnt | Operational characteristics | No. of doctors | persons | int
17 | ct_cnt | Operational characteristics | No. of CT (computed tomography) scanners | count | int
18 | mri_cnt | Operational characteristics | No. of MRI (magnetic resonance imaging) scanners | count | int
19 | diet_cnt | Operational characteristics | No. of dietitians | persons | int
20 | cook_cnt | Operational characteristics | No. of cooks | persons | int
21 | site_sum_2018 | Energy consumption | Total site energy consumption, 2018 | kWh/yr | float | Source total | Measured | site_elec + site_gas + site_heat | Calendar year 2018 (Jan-Dec)
22 | site_sum_2019 | Energy consumption | Total site energy consumption, 2019 | kWh/yr | float | Source total | Measured | site_elec + site_gas + site_heat | Calendar year 2019 (Jan-Dec)
23 | site_sum_2020 | Energy consumption | Total site energy consumption, 2020 | kWh/yr | float | Source total | Measured | site_elec + site_gas + site_heat | Calendar year 2020 (Jan-Dec)
24 | site_sum_2021 | Energy consumption | Total site energy consumption, 2021 | kWh/yr | float | Source total | Measured | site_elec + site_gas + site_heat | Calendar year 2021 (Jan-Dec)
25 | site_elec_2018 | Energy consumption | Site electricity energy consumption, 2018 | kWh/yr | float | Source total | Measured | Σ_m E_e,m | Calendar year 2018 (Jan-Dec)
26 | site_elec_2019 | Energy consumption | Site electricity energy consumption, 2019 | kWh/yr | float | Source total | Measured | Σ_m E_e,m | Calendar year 2019 (Jan-Dec)
27 | site_elec_2020 | Energy consumption | Site electricity energy consumption, 2020 | kWh/yr | float | Source total | Measured | Σ_m E_e,m | Calendar year 2020 (Jan-Dec)
28 | site_elec_2021 | Energy consumption | Site electricity energy consumption, 2021 | kWh/yr | float | Source total | Measured | Σ_m E_e,m | Calendar year 2021 (Jan-Dec)
29 | site_gas_2018 | Energy consumption | Site gas energy consumption, 2018 | kWh/yr | float | Source total | Measured | Σ_m E_g,m | Calendar year 2018 (Jan-Dec)
30 | site_gas_2019 | Energy consumption | Site gas energy consumption, 2019 | kWh/yr | float | Source total | Measured | Σ_m E_g,m | Calendar year 2019 (Jan-Dec)
31 | site_gas_2020 | Energy consumption | Site gas energy consumption, 2020 | kWh/yr | float | Source total | Measured | Σ_m E_g,m | Calendar year 2020 (Jan-Dec)
32 | site_gas_2021 | Energy consumption | Site gas energy consumption, 2021 | kWh/yr | float | Source total | Measured | Σ_m E_g,m | Calendar year 2021 (Jan-Dec)
33 | site_heat_2018 | Energy consumption | Site district heating energy consumption, 2018 | kWh/yr | float | Source total | Measured | Σ_m E_h,m | Calendar year 2018 (Jan-Dec)
34 | site_heat_2019 | Energy consumption | Site district heating energy consumption, 2019 | kWh/yr | float | Source total | Measured | Σ_m E_h,m | Calendar year 2019 (Jan-Dec)
35 | site_heat_2020 | Energy consumption | Site district heating energy consumption, 2020 | kWh/yr | float | Source total | Measured | Σ_m E_h,m | Calendar year 2020 (Jan-Dec)
36 | site_heat_2021 | Energy consumption | Site district heating energy consumption, 2021 | kWh/yr | float | Source total | Measured | Σ_m E_h,m | Calendar year 2021 (Jan-Dec)
37 | site_clg_2018 | Energy consumption | Total site cooling energy consumption, 2018 | kWh/yr | float | End-use estimate | Modeled (CPM) | Σ_m C_e,m + Σ_m C_g,m + Σ_m C_h,m | Calendar year 2018 (Jan-Dec) | Split of the change-point model prediction for each energy source, summed over sources; site_base + site_htg + site_clg does not exactly equal site_sum
38 | site_clg_2019 | Energy consumption | Total site cooling energy consumption, 2019 | kWh/yr | float | End-use estimate | Modeled (CPM) | Σ_m C_e,m + Σ_m C_g,m + Σ_m C_h,m | Calendar year 2019 (Jan-Dec) | Split of the change-point model prediction for each energy source, summed over sources; site_base + site_htg + site_clg does not exactly equal site_sum
39 | site_clg_2020 | Energy consumption | Total site cooling energy consumption, 2020 | kWh/yr | float | End-use estimate | Modeled (CPM) | Σ_m C_e,m + Σ_m C_g,m + Σ_m C_h,m | Calendar year 2020 (Jan-Dec) | Split of the change-point model prediction for each energy source, summed over sources; site_base + site_htg + site_clg does not exactly equal site_sum
40 | site_clg_2021 | Energy consumption | Total site cooling energy consumption, 2021 | kWh/yr | float | End-use estimate | Modeled (CPM) | Σ_m C_e,m + Σ_m C_g,m + Σ_m C_h,m | Calendar year 2021 (Jan-Dec) | Split of the change-point model prediction for each energy source, summed over sources; site_base + site_htg + site_clg does not exactly equal site_sum
41 | site_htg_2018 | Energy consumption | Total site heating energy consumption, 2018 | kWh/yr | float | End-use estimate | Modeled (CPM) | Σ_m H_e,m + Σ_m H_g,m + Σ_m H_h,m | Calendar year 2018 (Jan-Dec) | Split of the change-point model prediction for each energy source, summed over sources; site_base + site_htg + site_clg does not exactly equal site_sum
42 | site_htg_2019 | Energy consumption | Total site heating energy consumption, 2019 | kWh/yr | float | End-use estimate | Modeled (CPM) | Σ_m H_e,m + Σ_m H_g,m + Σ_m H_h,m | Calendar year 2019 (Jan-Dec) | Split of the change-point model prediction for each energy source, summed over sources; site_base + site_htg + site_clg does not exactly equal site_sum
43 | site_htg_2020 | Energy consumption | Total site heating energy consumption, 2020 | kWh/yr | float | End-use estimate | Modeled (CPM) | Σ_m H_e,m + Σ_m H_g,m + Σ_m H_h,m | Calendar year 2020 (Jan-Dec) | Split of the change-point model prediction for each energy source, summed over sources; site_base + site_htg + site_clg does not exactly equal site_sum
44 | site_htg_2021 | Energy consumption | Total site heating energy consumption, 2021 | kWh/yr | float | End-use estimate | Modeled (CPM) | Σ_m H_e,m + Σ_m H_g,m + Σ_m H_h,m | Calendar year 2021 (Jan-Dec) | Split of the change-point model prediction for each energy source, summed over sources; site_base + site_htg + site_clg does not exactly equal site_sum
45 | site_base_2018 | Energy consumption | Total site baseload energy consumption, 2018 | kWh/yr | float | End-use estimate | Modeled (CPM) | Σ_m B_e,m + Σ_m B_g,m + Σ_m B_h,m | Calendar year 2018 (Jan-Dec) | Split of the change-point model prediction for each energy source, summed over sources; site_base + site_htg + site_clg does not exactly equal site_sum
46 | site_base_2019 | Energy consumption | Total site baseload energy consumption, 2019 | kWh/yr | float | End-use estimate | Modeled (CPM) | Σ_m B_e,m + Σ_m B_g,m + Σ_m B_h,m | Calendar year 2019 (Jan-Dec) | Split of the change-point model prediction for each energy source, summed over sources; site_base + site_htg + site_clg does not exactly equal site_sum
47 | site_base_2020 | Energy consumption | Total site baseload energy consumption, 2020 | kWh/yr | float | End-use estimate | Modeled (CPM) | Σ_m B_e,m + Σ_m B_g,m + Σ_m B_h,m | Calendar year 2020 (Jan-Dec) | Split of the change-point model prediction for each energy source, summed over sources; site_base + site_htg + site_clg does not exactly equal site_sum
48 | site_base_2021 | Energy consumption | Total site baseload energy consumption, 2021 | kWh/yr | float | End-use estimate | Modeled (CPM) | Σ_m B_e,m + Σ_m B_g,m + Σ_m B_h,m | Calendar year 2021 (Jan-Dec) | Split of the change-point model prediction for each energy source, summed over sources; site_base + site_htg + site_clg does not exactly equal site_sum
49 | pri_sum_2018 | Energy consumption | Total primary energy consumption, 2018 | kWh/yr | float | Primary-energy conversion | Measured × factor | pri_elec + pri_gas + pri_heat | Calendar year 2018 (Jan-Dec)
50 | pri_sum_2019 | Energy consumption | Total primary energy consumption, 2019 | kWh/yr | float | Primary-energy conversion | Measured × factor | pri_elec + pri_gas + pri_heat | Calendar year 2019 (Jan-Dec)
51 | pri_sum_2020 | Energy consumption | Total primary energy consumption, 2020 | kWh/yr | float | Primary-energy conversion | Measured × factor | pri_elec + pri_gas + pri_heat | Calendar year 2020 (Jan-Dec)
52 | pri_sum_2021 | Energy consumption | Total primary energy consumption, 2021 | kWh/yr | float | Primary-energy conversion | Measured × factor | pri_elec + pri_gas + pri_heat | Calendar year 2021 (Jan-Dec)
53 | pri_elec_2018 | Energy consumption | Primary electricity energy consumption, 2018 | kWh/yr | float | Primary-energy conversion | Measured × factor | 2.75 × site_elec | Calendar year 2018 (Jan-Dec)
54 | pri_elec_2019 | Energy consumption | Primary electricity energy consumption, 2019 | kWh/yr | float | Primary-energy conversion | Measured × factor | 2.75 × site_elec | Calendar year 2019 (Jan-Dec)
55 | pri_elec_2020 | Energy consumption | Primary electricity energy consumption, 2020 | kWh/yr | float | Primary-energy conversion | Measured × factor | 2.75 × site_elec | Calendar year 2020 (Jan-Dec)
56 | pri_elec_2021 | Energy consumption | Primary electricity energy consumption, 2021 | kWh/yr | float | Primary-energy conversion | Measured × factor | 2.75 × site_elec | Calendar year 2021 (Jan-Dec)
57 | pri_gas_2018 | Energy consumption | Primary gas energy consumption, 2018 | kWh/yr | float | Primary-energy conversion | Measured × factor | 1.1 × site_gas | Calendar year 2018 (Jan-Dec)
58 | pri_gas_2019 | Energy consumption | Primary gas energy consumption, 2019 | kWh/yr | float | Primary-energy conversion | Measured × factor | 1.1 × site_gas | Calendar year 2019 (Jan-Dec)
59 | pri_gas_2020 | Energy consumption | Primary gas energy consumption, 2020 | kWh/yr | float | Primary-energy conversion | Measured × factor | 1.1 × site_gas | Calendar year 2020 (Jan-Dec)
60 | pri_gas_2021 | Energy consumption | Primary gas energy consumption, 2021 | kWh/yr | float | Primary-energy conversion | Measured × factor | 1.1 × site_gas | Calendar year 2021 (Jan-Dec)
61 | pri_heat_2018 | Energy consumption | Primary district heating energy consumption, 2018 | kWh/yr | float | Primary-energy conversion | Measured × factor | 0.728 × site_heat | Calendar year 2018 (Jan-Dec)
62 | pri_heat_2019 | Energy consumption | Primary district heating energy consumption, 2019 | kWh/yr | float | Primary-energy conversion | Measured × factor | 0.728 × site_heat | Calendar year 2019 (Jan-Dec)
63 | pri_heat_2020 | Energy consumption | Primary district heating energy consumption, 2020 | kWh/yr | float | Primary-energy conversion | Measured × factor | 0.728 × site_heat | Calendar year 2020 (Jan-Dec)
64 | pri_heat_2021 | Energy consumption | Primary district heating energy consumption, 2021 | kWh/yr | float | Primary-energy conversion | Measured × factor | 0.728 × site_heat | Calendar year 2021 (Jan-Dec)
65 | pri_clg_2018 | Energy consumption | Total primary cooling energy consumption, 2018 | kWh/yr | float | Primary-energy conversion | Modeled × factor | 2.75 × Σ_m C_e,m + 1.1 × Σ_m C_g,m + 0.728 × Σ_m C_h,m | Calendar year 2018 (Jan-Dec) | Site component of each energy source multiplied by the primary energy factor of that source (electricity 2.75, gas 1.1, district heating 0.728) and summed; derived from the change-point model split, so pri_base + pri_htg + pri_clg does not exactly equal pri_sum
66 | pri_clg_2019 | Energy consumption | Total primary cooling energy consumption, 2019 | kWh/yr | float | Primary-energy conversion | Modeled × factor | 2.75 × Σ_m C_e,m + 1.1 × Σ_m C_g,m + 0.728 × Σ_m C_h,m | Calendar year 2019 (Jan-Dec) | Site component of each energy source multiplied by the primary energy factor of that source (electricity 2.75, gas 1.1, district heating 0.728) and summed; derived from the change-point model split, so pri_base + pri_htg + pri_clg does not exactly equal pri_sum
67 | pri_clg_2020 | Energy consumption | Total primary cooling energy consumption, 2020 | kWh/yr | float | Primary-energy conversion | Modeled × factor | 2.75 × Σ_m C_e,m + 1.1 × Σ_m C_g,m + 0.728 × Σ_m C_h,m | Calendar year 2020 (Jan-Dec) | Site component of each energy source multiplied by the primary energy factor of that source (electricity 2.75, gas 1.1, district heating 0.728) and summed; derived from the change-point model split, so pri_base + pri_htg + pri_clg does not exactly equal pri_sum
68 | pri_clg_2021 | Energy consumption | Total primary cooling energy consumption, 2021 | kWh/yr | float | Primary-energy conversion | Modeled × factor | 2.75 × Σ_m C_e,m + 1.1 × Σ_m C_g,m + 0.728 × Σ_m C_h,m | Calendar year 2021 (Jan-Dec) | Site component of each energy source multiplied by the primary energy factor of that source (electricity 2.75, gas 1.1, district heating 0.728) and summed; derived from the change-point model split, so pri_base + pri_htg + pri_clg does not exactly equal pri_sum
69 | pri_htg_2018 | Energy consumption | Total primary heating energy consumption, 2018 | kWh/yr | float | Primary-energy conversion | Modeled × factor | 2.75 × Σ_m H_e,m + 1.1 × Σ_m H_g,m + 0.728 × Σ_m H_h,m | Calendar year 2018 (Jan-Dec) | Site component of each energy source multiplied by the primary energy factor of that source (electricity 2.75, gas 1.1, district heating 0.728) and summed; derived from the change-point model split, so pri_base + pri_htg + pri_clg does not exactly equal pri_sum
70 | pri_htg_2019 | Energy consumption | Total primary heating energy consumption, 2019 | kWh/yr | float | Primary-energy conversion | Modeled × factor | 2.75 × Σ_m H_e,m + 1.1 × Σ_m H_g,m + 0.728 × Σ_m H_h,m | Calendar year 2019 (Jan-Dec) | Site component of each energy source multiplied by the primary energy factor of that source (electricity 2.75, gas 1.1, district heating 0.728) and summed; derived from the change-point model split, so pri_base + pri_htg + pri_clg does not exactly equal pri_sum
71 | pri_htg_2020 | Energy consumption | Total primary heating energy consumption, 2020 | kWh/yr | float | Primary-energy conversion | Modeled × factor | 2.75 × Σ_m H_e,m + 1.1 × Σ_m H_g,m + 0.728 × Σ_m H_h,m | Calendar year 2020 (Jan-Dec) | Site component of each energy source multiplied by the primary energy factor of that source (electricity 2.75, gas 1.1, district heating 0.728) and summed; derived from the change-point model split, so pri_base + pri_htg + pri_clg does not exactly equal pri_sum
72 | pri_htg_2021 | Energy consumption | Total primary heating energy consumption, 2021 | kWh/yr | float | Primary-energy conversion | Modeled × factor | 2.75 × Σ_m H_e,m + 1.1 × Σ_m H_g,m + 0.728 × Σ_m H_h,m | Calendar year 2021 (Jan-Dec) | Site component of each energy source multiplied by the primary energy factor of that source (electricity 2.75, gas 1.1, district heating 0.728) and summed; derived from the change-point model split, so pri_base + pri_htg + pri_clg does not exactly equal pri_sum
73 | pri_base_2018 | Energy consumption | Total primary baseload energy consumption, 2018 | kWh/yr | float | Primary-energy conversion | Modeled × factor | 2.75 × Σ_m B_e,m + 1.1 × Σ_m B_g,m + 0.728 × Σ_m B_h,m | Calendar year 2018 (Jan-Dec) | Site component of each energy source multiplied by the primary energy factor of that source (electricity 2.75, gas 1.1, district heating 0.728) and summed; derived from the change-point model split, so pri_base + pri_htg + pri_clg does not exactly equal pri_sum
74 | pri_base_2019 | Energy consumption | Total primary baseload energy consumption, 2019 | kWh/yr | float | Primary-energy conversion | Modeled × factor | 2.75 × Σ_m B_e,m + 1.1 × Σ_m B_g,m + 0.728 × Σ_m B_h,m | Calendar year 2019 (Jan-Dec) | Site component of each energy source multiplied by the primary energy factor of that source (electricity 2.75, gas 1.1, district heating 0.728) and summed; derived from the change-point model split, so pri_base + pri_htg + pri_clg does not exactly equal pri_sum
75 | pri_base_2020 | Energy consumption | Total primary baseload energy consumption, 2020 | kWh/yr | float | Primary-energy conversion | Modeled × factor | 2.75 × Σ_m B_e,m + 1.1 × Σ_m B_g,m + 0.728 × Σ_m B_h,m | Calendar year 2020 (Jan-Dec) | Site component of each energy source multiplied by the primary energy factor of that source (electricity 2.75, gas 1.1, district heating 0.728) and summed; derived from the change-point model split, so pri_base + pri_htg + pri_clg does not exactly equal pri_sum
76 | pri_base_2021 | Energy consumption | Total primary baseload energy consumption, 2021 | kWh/yr | float | Primary-energy conversion | Modeled × factor | 2.75 × Σ_m B_e,m + 1.1 × Σ_m B_g,m + 0.728 × Σ_m B_h,m | Calendar year 2021 (Jan-Dec) | Site component of each energy source multiplied by the primary energy factor of that source (electricity 2.75, gas 1.1, district heating 0.728) and summed; derived from the change-point model split, so pri_base + pri_htg + pri_clg does not exactly equal pri_sum
77 | hdd_2018 | Weather | Annual heating degree days (base temperature 18 ℃), 2018 | ℃·day | float | Weather | Observed | Σ_m HDD_m (base temperature 18 ℃) | Calendar year 2018 (Jan-Dec)
78 | hdd_2019 | Weather | Annual heating degree days (base temperature 18 ℃), 2019 | ℃·day | float | Weather | Observed | Σ_m HDD_m (base temperature 18 ℃) | Calendar year 2019 (Jan-Dec)
79 | hdd_2020 | Weather | Annual heating degree days (base temperature 18 ℃), 2020 | ℃·day | float | Weather | Observed | Σ_m HDD_m (base temperature 18 ℃) | Calendar year 2020 (Jan-Dec)
80 | hdd_2021 | Weather | Annual heating degree days (base temperature 18 ℃), 2021 | ℃·day | float | Weather | Observed | Σ_m HDD_m (base temperature 18 ℃) | Calendar year 2021 (Jan-Dec)
81 | cdd_2018 | Weather | Annual cooling degree days (base temperature 24 ℃), 2018 | ℃·day | float | Weather | Observed | Σ_m CDD_m (base temperature 24 ℃) | Calendar year 2018 (Jan-Dec)
82 | cdd_2019 | Weather | Annual cooling degree days (base temperature 24 ℃), 2019 | ℃·day | float | Weather | Observed | Σ_m CDD_m (base temperature 24 ℃) | Calendar year 2019 (Jan-Dec)
83 | cdd_2020 | Weather | Annual cooling degree days (base temperature 24 ℃), 2020 | ℃·day | float | Weather | Observed | Σ_m CDD_m (base temperature 24 ℃) | Calendar year 2020 (Jan-Dec)
84 | cdd_2021 | Weather | Annual cooling degree days (base temperature 24 ℃), 2021 | ℃·day | float | Weather | Observed | Σ_m CDD_m (base temperature 24 ℃) | Calendar year 2021 (Jan-Dec)

## symbols
symbol | meaning
e, g, h | Subscripts for electricity, gas and district heating
m | Calendar month (m = 1, ..., 12)
Σ_m | Sum over the 12 months of the year
E_e,m, E_g,m, E_h,m | Calendarized monthly consumption of electricity, gas and district heating, in kWh
B, H, C | Monthly baseload, heating and cooling components of each source (subscripts as for E), split from the change-point model (CPM) fitted to that source over the two-year subperiod containing the year (2018-2019 or 2020-2021)
HDD_m, CDD_m | Monthly heating and cooling degree days of the ASOS station assigned to the beopjeong-dong of the institution (DataNet degree-day table)
2.75, 1.1, 0.728 | National primary energy conversion factors for electricity, gas and district heating

## notes
note
All energy and weather variables are calendar-year totals (January-December), provided for 2018-2021 with the year as a suffix (e.g., site_sum_2018).
site_base + site_htg + site_clg equals the CPM prediction, not exactly site_sum; likewise, pri_base + pri_htg + pri_clg does not exactly equal pri_sum.